## Slide 1: Midwest Referee Survey

## Slide 2
Chart: Does your lab test soybeans (Glycine max)?
| Yes | No
Responses | 0.7937 | 0.2063

## Slide 3
Chart: Approximately how many soybean samples a year do you test?
| Less than 10 | 11-99 | 100-249 | 250-499 | More than 500
Responses | 0.1852 | 0.1111 | 0.1111 | 0.2037 | 0.3889

## Slide 4
Chart: Which germination temperature do you test your soybean samples at? Other answers are do not test or equate to 25 or 20-30C
| 20-30C | 25C | Other (please specify)
Responses | 0.4815 | 0.537 | 0.0741

## Slide 5
Chart: What germination media do you use for soybean germs? Other answers Sand by M&P method or use soil instead of sand
| Between Blotters (B) AOSA method | Paper toweling (T) AOSA Method | Sand (S) AOSA Method | Top of creped cellulose paper (TC) AOSA Method | Top of creped cellulose paper and covered with 1/2 to 3/4" layer of sand (TCS) AOSA Method | Between Paper (BP) ISTA Method | Top of paper covered with Sand (TPS) ISTA Method | Sand (S) ISTA Method | Organic growing medium (O) ISTA Method | Other (please specify)
Responses | 0.0185 | 0.7963 | 0.1852 | 0.1111 | 0.0926 | 0 | 0.0185 | 0.037 | 0 | 0.1296

## Slide 6
Chart: Does your lab test sunflowers (Helianthus annuus)?
| Yes | No
Responses | 0.8136 | 0.1864

## Slide 7
Chart: Approximately how many sunflower samples a year do you test?
| Less than 10 | 11-99 | 100-249 | 250-499 | More than 500
Responses | 0.3269 | 0.5769 | 0.0385 | 0.0385 | 0.0192

## Slide 8
Chart: Which germination temperature do you test your sunflower samples at? Other answers: Depends on type whether 20 or 20-30C
| 20C | 25C | 20-30C | Other (please specify)
Responses | 0.3529 | 0.1569 | 0.5098 | 0.0392

## Slide 9
Chart: What germination media do you use for sunflowers? Other answers Canada M&P or C covered in Paper towels
| Between Blotters (B) AOSA method | Paper toweling (T) AOSA Method | Sand (S) AOSA Method | Top of creped cellulose paper and covered with 1/2 to 3/4" layer of sand (TCS) AOSA Method | Between Paper (BP) ISTA Method | Top of paper covered with Sand (TPS) ISTA Method | Sand (S) ISTA Method | Organic growing medium (O) ISTA Method | Other (please specify)
Responses | 0.0392 | 0.8824 | 0.0392 | 0.0588 | 0 | 0.0196 | 0.0196 | 0.0196 | 0.0588

## Slide 10
Chart: Does your lab test sorghum (Sorghum bicolor subsp bicolor)?
| Yes | No
Responses | 0.7368 | 0.2632

## Slide 11
Chart: Approximately how many sorghum samples a year do you test?
| Less than 10 | 11-99 | 100-249 | 250-499 | More than 500
Responses | 0.2667 | 0.4667 | 0.1556 | 0.0222 | 0.0889

## Slide 12
Chart: Which germination temperature do you test your sorghum samples at?
| 25C | 20-30C | Other (please specify)
Responses | 0.0444 | 0.9111 | 0

## Slide 13
Chart: What germination media do you use for sorghum? Other answers: Canada M&P
| Between Blotters (B) AOSA method | Paper toweling (T) AOSA Method | Sand (S) AOSA Method | Top of creped cellulose paper | Between Paper (BP) ISTA Method | Top of paper (TP) ISTA Method | Other (please specify)
Responses | 0.1163 | 0.7442 | 0.0233 | 0.0466 | 0 | 0.0233 | 0.0466

## Slide 14
Chart: Do you pre-chill sorghum samples that have suspected dormancy?
| Yes | No
Responses | 0.7045 | 0.2955

## Slide 15
Chart: Does your lab test wheat (Triticum aestivum)?
| Yes | No
Responses | 0.8421 | 0.1579

## Slide 16
Chart: Approximately how many wheat samples a year do you test?
| Less than 10 | 11-99 | 100-249 | 250-499 | More than 500
Responses | 0.1346 | 0.2692 | 0.1923 | 0.1346 | 0.2692

## Slide 17
Chart: Which germination temperature do you test your wheat samples at?
| 15C | 20C | Other (please specify)
Responses | 0.0192 | 0.9615 | 0

## Slide 18
Chart: What germination media do you use for wheat? Other answers: Canada M&P and Top of Creped cellulose
| Between Blotters (B) AOSA method | Paper toweling (T) AOSA Method | Sand (S) AOSA Method | Between Paper (BP) ISTA Method | Top of paper (TP) ISTA Method | Sand (S) ISTA Method | Other (please specify)
Responses | 0.0962 | 0.8077 | 0.0769 | 0 | 0.0385 | 0 | 0.0962

## Slide 19
Chart: Do you pre-chill wheat samples that have suspected dormancy?
| Yes | No
Responses | 0.8627 | 0.1373

## Slide 20
Chart: Do you pre-dry wheat samples that have suspected dormancy?
| Yes | No
Responses | 0.0196 | 0.9804

## Slide 21
Chart: Does your lab test alfalfa (Medicago sativa)?
| Yes | No
Responses | 0.807 | 0.193

## Slide 22
Chart: Approximately how many alfalfa samples a year do you test?
| Less than 10 | 11-99 | 100-249 | 250-499 | More than 500
Responses | 0.1667 | 0.4167 | 0.1875 | 0.1042 | 0.125

## Slide 23
Chart: Which germination temperature do you test your alfalfa samples at?
| 20C | Other (please specify)
Responses | 0.9792 | 0

## Slide 24
Chart: What germination media do you use for alfalfa?
| Between Blotters (B) AOSA method | Paper toweling (T) AOSA Method | Sand (S) AOSA Method | Between Paper (BP) ISTA Method | Top of paper (TP) ISTA Method | Other (please specify)
Responses | 0.2917 | 0.6042 | 0 | 0.0208 | 0.0833 | 0.1042

## Slide 25
Chart: Do you check for hard seeds at the end of the alfalfa test?
| Yes | No
Responses | 0.9787 | 0.0213

## Slide 26
Chart: Does your lab test corn (Zea mays)?
| Yes | No
Responses | 0.9649 | 0.0351

## Slide 27
Chart: Approximately how many corn samples a year do you test?
| Less than 10 | 11-99 | 100-249 | 250-499 | More than 500
Responses | 0.1964 | 0.25 | 0.1429 | 0.1607 | 0.25

## Slide 28
Chart: Which germination temperature do you test your alfalfa samples at?
| 20C | 25C | 20-30C | Other (please specify)
Responses | 0.0357 | 0.4464 | 0.5536 | 0

## Slide 29
Chart: What germination media do you use for alfalfa? Other answers: Canada M&P
| Between Blotters (B) AOSA method | Paper toweling (T) AOSA Method | Sand (S) AOSA Method | Top of creped cellulose paper (TC) AOSA Method | Top of creped cellulose paper with sand (TCS) AOSA Method | Between Paper (BP) ISTA Method | Top of paper covered with sand (TPS) ISTA Method | Sand (S) ISTA Method | Other (please specify)
Responses | 0 | 0.8036 | 0.0714 | 0.0893 | 0.0179 | 0.0179 | 0.0357 | 0.0179 | 0.0893

## Slide 30: Are there any other species you would like to see clarified in the rules?
Eragrostis tef
Crotolaria juncea
Peanuts
Chufa
Crabgrass
A standard stress test
Field and garden bean