## Slide 1: Bird of Paradise TZ Referee
Southwest Region #4
Michael Aberle RST
Ransom Seed Lab 2019

## Slide 2: Reasons for a TZ method
Currently a method for the tetrazolium testing of Strelitzia reginae is not in the AOSA TZ handbook
The germination of Strelitzia can take up to 60 to 90 days with a high proportion of dormant seeds
Scarification methods to break the dormancy can lead to the deterioration of the seed
They are large seeds and take up space in the germinator

## Slide 3: The fruit is a leathery capsule containing numerous small seeds, each with an orange aril and an oil body, possibly attractive to birds which may help to distribute the seeds.

## Slide 4: Referee
Two samples of 100 seeds with 99% (#1) and 90% (#2) viabilities provided to us by Mistletoe Seeds in Goleta CA
Enough seed from our customer to provide 10 labs with two samples
Provided instructions for TZ testing method I currently use to test Strelitzia reginae

## Slide 15: Strelitzia TZ Referee
Chart: 
| Original TZ | lab 1 | lab 2 | lab 3 | lab 5 | lab 7 | lab 8 | lab 9 | lab 10 | lab 11
Sample #1 | 99 | 89 | 98 | 20 | 98 | 51 | 95 | 91 | 86 | 97
Sample#2 | 90 | 87 | 99 | 35 | 96 | 45 | 97 | 89 | 67 | 99

## Slide 16: Feedback on TZ Evaluation
“ I followed your directions for the preconditioning of the seed but I thought they needed more time to stain so I evaluated them in the afternoon instead of right away in the morning.”
“It seemed like the cuts from the razor blade caused a bit of damage to the embryos but when I pulled them out and flipped them over they were easier to evaluate.”
“I tried to stick pretty closely to your pictures of what was viable vs. non-viable so anything that had partial staining I called non-viable.”

## Slide 17: Participant’s photos of results
#1 showing artifact damage on cut side
#2 embryo’s reverse side showing normal stain
#3 and #4 artifact damage or non-viable stain?

## Slide 22: My photos of results
#1 Normal stain without artifact damage
#2 and #3 stain inhibited by endosperm
#4 artifact damage from razor blade cut
#5 and #6 damage at radical end or viable stain?

## Slide 29: Recommendations
Longer preconditioning time to soften the endosperm to minimize damage to the embryo. In 5 C to avoid deterioration.
Sharp razorblades.
Off-centered cuts to avoid cutting much of the embryo.
Longer staining time.

## Slide 30: Future Experiments
Using 1% TZ solution
Correlate with germination tests.
Fine tune requirements for handbook entry for large seeded expensive crops

## Slide 31: Thank you participants and Mistletoe Seed!