## Slide 1: Transgenic Traits
Herbicide Bioassay
March 2022
Amanda Patin
SGS North America, Inc.
Brookings, South Dakota USA
amanda.patin@sgs.com
(605) 692-7611

## Slide 2: Seeds – Trait Delivery
Input Traits:
  Herbicide Tolerance
  Insect Resistance
  Abiotic (Drought, yield, nitrogen)
Modified Product Quality:
  Oils
  Protein
  Starches
Inside the Seed:
Notes: Focusing on what is in the seed

## Slide 3: From DNA to Trait
Step 1
DNA inserted into plant genome
Step 2
Plant synthesizes protein from DNA code
Step 3
Protein allows plant to tolerate herbicide, kill insect, produce output trait

## Slide 4: Transgenic Events
Identify DNA for transformation
Clone gene of interest
Gene design
Transformation
Backcrossing

## Slide 5: Trait Test Definitions
Trait - a characteristic of an organism, which manifests itself in the phenotype (physically). In the use of a trait, it may be developed through a transgene (a package of genetic material (DNA) that is inserted into the genome of a cell via gene splicing technique or through other breeding methods. The same trait may be produced by different events and may need to be tested in a different manner
Event - each instance a genetically engineered organism is inserted in a gene
May or may not be transgenic
Brand - a trademark that is used to market a product, such as YieldGard®, VT®, Herculex®, Agrisure®, Genuity®, etc
Approved Event - Event that has been approved by the government body as safe and legally allowed in the country

## Slide 6: Traits Types
Herbicide Traits-Traits incorporated into corn genome through various events making the corn plants resistant to select herbicides
  NK603, GA21 – Glyphosate tolerant events
  T25, Bt11 – Liberty Link (Glufosinate) tolerant events
  Imidazolinone resistance, mutant identified
Insecticide Resistance Traits- traits incorporated into corn genomes making the plants resistant to select insects
  Uses gene from natural soil bacterium, Bacillus thuringiensis (Bt)
  Bt gene produces Crystalline proteins (Cry) which are toxic to specific insects

## Slide 7: Traits Types page 2
Disease (Virus) Resistance
  Papaya
Modified Product Quality-
  Soybean – Low linolenic – non transgenic
  Carnation –flower color
  Maize – Lysine, starch
Abiotic Stress Tolerance
  Drought tolerance
  Nitrogen use efficiency
Growth/Yield –Alteration
Pollution Control System

## Slide 8: Biotech Crops (495 Events)
Crops
Corn
Soybean
Cotton
Canola
Alfalfa
Sugar Beet
Papaya
Others
  Carnation, Petunia, Viola, Rose
  Rice
  Potato
  Tomato
  Flax
  Sugar Cane
  Wheat
  Sweet Corn
  Not Cultivated:
  Apple, Bean, Chicory, Eucalyptus, Flax, plum, sweet pepper
  Creeping Bentgrass
  Eggplant
  Melon
  Poplar
  Squash
  Tobacco

## Slide 9: Reasons to Test for Traits
Determine genetic purity level of trait/event present- quality assurance
Determine contamination level (adventitious presence)
Trait provider requires
Required by customer

## Slide 10: Testing Methods
Method | Tests for
PCR - Polymerase Chain Reaction | DNA
ELISA - Antibody reaction | Protein
Herbicide Bioassay | Trait

## Slide 11: Method Parameters
Valid Method
Sample
Control Samples
Check Seed

## Slide 12: Use a Valid Method
Reliable
Repeatable
Applicable
Use Appropriate Reference Materials
Rapid
Inexpensive
Properly Validated
  Accuracy
  Precision
  Sensitivity
  Specificity
  Robustness
  Ruggedness

## Slide 13: Obtaining the Sample
No matter how accurately an analysis is made, it can show only the quality of the sample submitted.
  Commonly an overlooked step in the process
  Properly trained sampler

## Slide 14: Use of a Good Control Sample
Included with routine samples
Included in every test run
Should not be identified as control or check until test completion
If results fall outside of parameters a problem should be identified

## Slide 15: Use of Control Samples
Herbicide Bioassay
Control required for trait evaluation both positive and negative
Check samples:
  Essential to assure test accuracy
  Limit liability
  Exposed to same conditions
  Internal quality control to enable analysts to detect variation in a test procedure

## Slide 16: Herbicide Bioassay Positive and Negative Check Seeds
Bioassay – a test using seed or seedling to determine chemical toxicity (or tolerance to) a herbicide
Positive - Tolerant Seed – seed having the desired tolerance
Negative - Non-Tolerant Seed – seed that does not have desired tolerance

## Slide 17: Bioassay Terms
CCP – crepe cellulose paper (Versapak)
PPG or PPE– personal protective gear/equipment
Enzyme – BXN (Bromoxynil): bacterial nitrilase enzyme
Gene- CP4 EPSPS gene unaffected by glyphosate herbicides
Inhibitors: translocated apoplast and symplast- ALS containing herbicides: Imidazolinoes and Sulfonylureas

## Slide 18: Why Perform a Bioassay?
To determine the expressed percentage of presence or absence of herbicide tolerance in a seed lot
Shows individual seed expression of the tolerance
Cheaper than other methods - ELISA/PCR
Screen to confirm absence of a tolerance

## Slide 19: Herbicides with Tolerant Crops
Glyphosate
Glufosinate
Dicamba
2,4 D
Sulfonylurea Tolerant Soybean (STS)
Imidazolinone -Clearfield
Others – Balance and HT3

## Slide 20: The Herbicide Solution
Concentration of herbicide must allow all seedlings to grow normally while non-tolerant seedlings express non-tolerant symptoms.
Can be a challenge, as laboratory and field concentrations do not correlate.
May require surfactants, buffers and/or stock solutions.
Calculating and Mixing correct concentration critical step.

## Slide 21: Herbicide Concentration Roundup Ultra® 41%
Determining Amount of Herbicide - Calculation
= Amount of Herbicide needed
= 0.4878mL
Example:
Desired Concentration =400ppm
Desired Milliliters of Solution = 500mL
% AI= 41% x 10,000 = 410,000ppm
Mix 499.5122 H2O plus 0.4878mL of Roundup Ultra Herbicide 41% to make 400ppm solution of 500mL

## Slide 22: Herbicide Testing Methods
Method | ~Length
Seed Soak Seeds soaked in herbicide, then planted on watered media | 16h / 7d
Spray Over Method Seeds grown out and seedlings are sprayed with herbicide | 5d / 5d 10d to 21d
Substrate Imbibition Method Seeds are exposed to herbicide during entire test period | 7d

## Slide 23: Tray Bioassay Tests Corn and Soybean LL, GT, STS, CL, Dicamba, 2,4 D

## Slide 24: Substrate Imbibition Method
Laboratory bioassays with herbicide solution placed directly into the media. The seed in placed on the media to allow the herbicide solution to imbibe.
Seven-day test
Four hundred seeds tested
Negative and positive check seeds used to verify herbicide presence and appropriate levels.

## Slide 25: Herbicide Watering Table

## Slide 26: Soybean Herbicide Bioassay Tests

## Slide 27: Soybean Herbicide Bioassays: Glyphosate Sulfonylurea Tolerant Soybean

## Slide 28: Glyphosate Soybeans
  Herbicide inhibits an enzyme involved in synthesis of amino acids (tyrosine, tryptophan, phenylalanine)
  Herbicide absorbed through foliage and translocates to growing points
  It’s only effective on actively growing plants, not effective as a pre-emergence herbicide
  RR Herbicide introduced in 1974
  Glyphosate Soybeans introduced in 1995

## Slide 29: Glyphosate Soybean Herbicide Trait Bioassay Method
Supplies
Large tray, 14-ply Versapak
Plant 4 replicates of 100 seeds on tray, after wetting Versapak with herbicide solution
Plant 5 check seeds of tolerant and non-tolerant seeds (Positive and Negative) on EVERY TRAY
Grow for 7 days at 25°C
Evaluate for germination following AOSA Rules
Evaluate for tolerance to herbicide

## Slide 30: Positive and Negative Check Seeds

## Slide 31: Evaluate on Seventh Test Day

## Slide 32: Soybean Germination
Seed/Seedling Classification
  Normal
  Abnormal
  Dead
  Dormant or Hard
  Tolerant
  Non-tolerant
Quality Issues
  Mechanical Damage
  Seed-borne Fungi

## Slide 33: Seedling Classification
AOSA normal seedlings
  (380/400) = 95.0 %
Tolerant seedlings
  (378/380) = 99.5%
Non-tolerant seedlings
  (2/380) = 0.5%

## Slide 34: Evaluating Herbicide Trait Tests
Find negative and positive check seeds
Evaluate test sample
  Count normal seedlings
  Count non-trait seedlings
Calculate the percentage of trait seedlings
# trait seedlings
# normal seedlings
375/380 = 98.7%

## Slide 35: Evaluating Herbicide Trait Tests
Determining Tolerance - Calculation
X 100 = % Tolerant
x 100= 97.2%
Example:
400 seeds planted
4 (abnormal seedlings)
2 (not germinated/dead seed)
394 (normal seedlings)
11 (non-tolerant seedlings)

## Slide 36: Negative Check Seedlings Expressing Non-Tolerant Symptoms

## Slide 37: Glyphosate Soybean Germination
Non-tolerant Symptoms
  Inhibition of secondary root growth and root hairs
  Shortened hypocotyl growth
  Browning of root and hypocotyl tissues
  Browning of root tip
  Stiff roots
  Inhibition of unifoliate leaf development

## Slide 38: Glyphosate Soybean Germination
Non-tolerant Symptoms
  Inhibition of secondary root growth and root hairs
  Shortened hypocotyl growth
  Check for tolerance

## Slide 39: STS Herbicide (Sulfonylurea Tolerant Soybean)
STS soybeans
  Provide efficient and economical weed control
  Able to thrive in different soil types (especially dry land and hot conditions)
Herbicide
  Applied during pre-plant, pre-emerge and post-emerge conditions
  STS soybeans are “tolerant” to herbicide, genetics are not a transgenic even

## Slide 40: Sulfonylurea Tolerant Soybean (STS)

## Slide 41: Sulfonylurea Tolerant Soybean Procedure
Supplies
Large tray, 14-ply Versapak, wax paper
Plant 4 replicates of 100 seeds on tray, after wetting Versapak with herbicide
Plant 5 check seeds of tolerant and non-tolerant seeds on EVERY TRAY
Cover entire tray with dry, warm sand
Grow for 7 days at 25◦C
Evaluate for emergence germination and tolerance to herbicide

## Slide 42: STS Soybean Germination
Symptoms of Non-Trait Seedlings
  Stunted root growth
  Primary leaves severely stunted
  Primary leaves clasping over each other
Find and pull out check seeds prior to evaluation
Count all normal seedlings (including non-trait symptom seedlings)
Pull non-trait out of sand as they are found, to count total later
Record germination, then record number of non-trait found

## Slide 43
Classification of STS
Soybean Seedlings
Seed/Seedling
  Normal
  Non-trait
Quality Issues
  Mechanical Damage
  Seed-borne Fungi

## Slide 44: Glufosinate Soybeans
Glufosinate Tolerant Soybeans
Introduced 2008
detection of non-tolerant seedlings requires high level of precision and experience.
- Bioassay and Spray test

## Slide 45: Glufosinate Soybeans Bioassay Rolled towel method
Photos: Indiana Crop Improvement Association

## Slide 46: Dicamba Soybeans Bioassay
Non-tolerant Symptoms
Callusing, puffing and curling of the hypocotyls and primary root.
Taproot may appear barky of darker in color (brown)

## Slide 47: 2,4 D Soybeans Bioassay
Non-tolerant Symptoms
Callusing, puffing and curling of the hypocotyls and primary root.
Taproot may appear barky of darker in color (brown)

## Slide 48: Corn Herbicide Bioassay Tests

## Slide 49
Laboratory bioassays - herbicide imbibed directly into seed during a seven day test. Include negative and positive checks.
Trait Purity Test - 400 seeds are tested and negative and positive check included.
Gross Contamination Test – 200 seeds are tested post-conditioning, packaging and trait purity testing.
Glyphosate

## Slide 50: Tolerant and Non-Tolerant Glyphosate Seedlings
Non-trait
Trait
Plumule lacking chlorophyll
Plumule not extending to end of coleoptile.
Inhibition of root hairs
Short stiff primary root
Needle eye

## Slide 51: Tolerant and Non-Tolerant Glyphosate Seedlings
Non-trait
Trait
Photo: Indiana Crop Improvement Association

## Slide 52: Glufosinate
Corn (1996)
Glutamine synthetase enzyme
PAT
  T25 gene
  Bt11 gene (also has Cry1ab gene)
96% trait required
Notes: Inhibition of ammonia to glutamine, so ammonia builds up and destroys cells and inhibits PSYN. Rate of symptom development is increased by bright sunlight, high humidity and moist soil.

## Slide 53: Non-Tolerant Glufosinate Corn (96%)
Inhibition of chlorophyll production & shoot development
Grainy shoot
Browning of mesocotyl tissue
Inhibition of root growth and hairs

## Slide 54: Tolerant and Non-Tolerant Glufosinate Seedlings Sprayover
Non-trait
Trait

## Slide 55: Clearfield Bioassay
Corn 1994 (IMI), Pursuit ®(PT), Clearfield ®(CL)
Rice, wheat 2000 (CL)
Sunflower, Canola, Lentils
Imidazolinone
ALS enzyme
ALS1, ALS2 gene
Lightning ®, Pursuit, Beyond, New Path®
97% trait required
Notes: Not gmo
Developed by Molecular Genetics Pharmaceuticals, Inc. (MGI) under contract with Am Cy. Methods were developed to select for IMI tolerant corn cells that spontaneously arise in corn cell cultures. After several generations of selection, homozygous imi tolerant corn cell lines were id and regenerated into corn plants that exhibit high levels of tolerance to imi herbicides.
IT two recessive genes. IR – one dominant gene, IMT IMItolerance

## Slide 56: Tolerant and Non-Tolerant Clearfield Seedlings Corn (97%)
Non-trait
trait
Shortened shoot growth
Inhibition of root growth and hair
Seedling easily removed from media

## Slide 57: Tolerant and Non-Tolerant Clearfield Seedlings Rice
Non-trait
trait
Shortened shoot growth
Inhibition of root growth and hair
Seedling easily removed from media

## Slide 58: Failing sample (less than required for sale)
Determine if the seedling is abnormal due to mechanical injury, physiological decay or fungal infection OR it is non-tolerant.
Verify check samples are reacting as expected and your solution is at the correct concentration.
Lateral flow strip testing for non-tolerant conformation.
Within 1.5% of threshold –additional 400 seeds tested.
  Only on 400 seeds tests
  200 seed tests results reported
Check sample

## Slide 59: References
Seed Technologist Training Manual-Chapter 14
www.seedtechnology.net
  Herbicide Bioassay Study Guide
  Non-tolerant Seedling Study Guide

## Slide 60: Thank you!
WWW.SGS.COM/SEEDANDCROP